## Slide 1: Day 2
Finish Reports
Hand in your evidence locker with all documents and the thumb drive (report should be on the thumb drive)
Notes: Final version for 2018
font Arial, text white
suppressed background design, changed bullet color to white from blue
Put reports up in the screen and have class review
Ask role players for feedback
Evidence locker should have any notes, COC form
Ask class for feed back on the practical exercise
1

## Slide 2: Evidence
Notes: Rev. 9.23.20
95 slides
1 hour 15 minutes
Slide 20 is video with sound, set on auto play

## Slide 3: Elements & Evidence
A person
Had a permit
Permit required …
Condition was violated
Date
Location
I saw Joe Citizen…
Gov't records…
Gov’t records
I saw…photos…
I saw on DATE
I was at LOCATION

## Slide 4: Evidence is…. “Stuff”
Testimony
Writings
Materials
Objects or
Things offered to prove the existence or nonexistence of a fact.
Notes: I prefer to think of evidence as “stuff”
but here is the legal definition and it applies in any kind of proceeding—administrative, civil or criminal
Anything that proves the existence or non existence of a fact
Sometimes it’s just as important to prove something didn't happen or doesn’t; exist
e.g.. a report was not received, a permit was not obtained
Evidence Code §140

## Slide 5: When do you need evidence?
In court
In an administrative hearing
In an office hearing
To settle an enforcement action
To issue a Notice of Violation
To check the box “non compliance” on an inspection report
Notes: So when do you need to focus on “evidence”?
Obviously if you are in court, but that’s pretty rare. You who are in the field are doing evidence gathering and evaluation all the time.
When you inspect, when you find non compliance, you need to make clear and record it.
If you do not have the evidence to support your conclusion that the person was in violation, you can’t check the box they are out of compliance.
So the answer to the question on the slide is you need it all the time, everyday..
The hardest to prove a violation are in a settlement conference—don’t underestimate the need of evidence to prepare for these.

## Slide 6: Typical Evidence
Witness testimony
Documents
Photos
Samples
Piece of garbage? Piece of pipe?
Notes: Now, lets go over typical kinds of evidence.
Read the slide
Other physical evidence
In the ARCO case, inspectors grabbed pieces of UST pipe. Important, because a year later in settlement negotiations the ARCO tried to say that none of the pipe was steel and/or corroded. The government inspector had collected the pipe and had it tested by a metallurgist. And it show that the pipe was steel and was corroded.
Important because the person you meet with in the office conference or hearing may not have ever been to the site, it may be manager from headquarters or an attorney. You need to show them what you saw.

## Slide 7: Where is the Evidence?
In your report
In your/your agency’s files
At the facility
At a scene
In other regulators’ offices
Other government agencies
The internet
Notes: Learning point– help the regulators understand there is lots of evidence is many different places.
They tend to focus in their own records and their own inspection

## Slide 8: Learning Point
Evidence can be found in many different places.
Regulators tend to focus in their own records and their own inspection

## Slide 9: What’s in Your File?
Previous inspections
Permits
Self monitoring reports
Training records
Correspondence
Check with all parts of the office
Prepare a chronology

## Slide 10: Other Documents You May Have
Notes in journals or day planners that didn’t get included in the report
Emails
Compliance assistance offered or provided

## Slide 11: Documents You Create

## Slide 12: Take Away
It’s important to document every contact with a regulated entity:
every time you talked to them
who you talked to
what excuse they had
any “promises/demands” you made

## Slide 13: Documents from the Facility
Contracts
SDS, labels, inventories,
Process documents
Bills of lading, purchase records
Personnel, training records
Correspondence to and from regulators
Other permits, licenses
Hazardous waste manifests

## Slide 14
Notes: If you get this from the site—how many things could it prove??
Knowledge
hazardous

## Slide 15: Haz Mat response got this critical piece of evidence
Notes: What do you notice?
Guilford logo
3 other companies?
They were playing shell game

## Slide 16: Their Haz Mat Plan
Notes: Guilford Rail Systems is not listed??

## Slide 17: All convicted at trial and upheld on appeal
1) Springfield Terminal Railway Company 2) Boston & Maine Corporation
3) Maine Central Railroad Company, and
4) Pan Am Railways, Inc.
Charged for failure to report the spill and for the attempted cover up.
Notes: Defense said only one day crime on one company.
No, 2 crimes, 4 defendants
All convicted at trial and upheld on appeal
State case
Guilford not charged

## Slide 18: Evidence on the Net
Business License/
Fictitious Business Name
  City/County Database
  Obtain Correct Business Ownership Information
  (i.e. Sole Proprietor, Inc., Corp., LLC, etc.)
  Identify Other Businesses owned by same person
Company/biz website
  Owner information
  Other locations
  Dead links can be a sign

## Slide 19: Other Agencies
Who inspects a gas station?
  Environmental programs (USTs, haz mat, haz waste, air)
  Weights & Measures
  Water (supply and waste)
  Fire
  Food
  Alcohol
  Lottery

## Slide 20: Who Owns the Property?
Do they know about the violations?
Does their insurance company know?

## Slide 21: Do Not Use Your Personal Social Media Account for Work Stuff
Don’t Ever
Consider how much work info you put on your private social media accounts
Notes: Mine does not list my current job nor is my profile pic a photo of me
Don’t post about work

## Slide 22: Free Aerial Photos Online
See list on USGS website:
http://nationalmap.gov/gio/viewonline.html
This site has links to several free sources.
Notes: This site has links to several free sources.

## Slide 23: Find a Photo Online?
Search for other places the photo is online.
In a Chrome browser, hover over the image and right-click (or "control"-click on a Mac). Select "Search Google for Image" and you'll see all the places the photo shows up with descriptions.

## Slide 25
10/14/04

## Slide 26
03/30/08

## Slide 27
09/15/10

## Slide 29
There are many unworkable digital video formats.
Many of which are proprietary.
Converting these videos from their proprietary format often creates problems.
You don’t find as many problems with photo formats.
Saving and storing on LAN systems???
Issues with Digital Video
Notes: Local Area Network

## Slide 30: Photos (remember yesterday session)
Try to take photos on every inspection
May be the only permanent record of what a person or location looked like at the time
Where violations are found, photograph who was there (employees, witnesses, possible defendants)
Take a photo from outside the facility
Establishing shot, medium shot, close up

## Slide 31: Photos record information and illustrate testimony
:
  Equipment and settings (e.g., date/time) work properly
  Shoot different scales and angles for context
  Never delete pictures from a series
  Keep originals separate, with chain of custody
  Image enhancement (e.g., lightening shades to remove shadow) may be ok if explained and the originals exist
Notes: Photos are useful for recording information – especially if you are not sure what you are looking at or will want to look at further detail later – there is a reason arson investigators photograph the crowds.
Photos typically used to illustrate testimony. Note that the person testifying doesn’t have to have taken the picture so long as they can explain that it is an accurate depiction of what they saw.
There is always a question about whether any photograph is useful or misleading. Be prepared for credibility challenges:
Make sure the equipment works and that the date/time settings are accurate
Shoot different scales starting with wider views and narrowing in to show context. Different angles will help you see the site better after you leave and will give you better credibility in case there is a challenge that the photo was doctored b/c harder to alter numerous pictures from different angles.
Keep originals separately and with chain of custody.
Don’t alter – that is change the content of pictures. Take digital pictures at high resolution and never compress.
31

## Slide 32
Notes: If the violation is no label get 360 pix

## Slide 33: Photo Worth 100+ words….
Notes: Photos are really good when the site is a mess, hard to describe or defend by testimony. Easy to take a photo.
If the liquid is moving, get video

## Slide 34: Photos showing damage
Notes: 34

## Slide 35: Photos can illustrate results of tests
After placing dye into the toilet, I saw the dye emerge from a pipe and discharge into the creek
Notes: Note however that it is usually bad practice to have the inspector in the picture or to show the test being done as it open avenues of challenge. Video would also be good here
35

## Slide 36: Photos can show locations
Can be useful to show that the sample analyzed is the same one collected (chain of custody)
Notes: I like the large sample numbers
36

## Slide 37: Transient, no test, hard to describe, easy to photo: fugitive dust
Notes: Air inspectors are taught to have the sun behind them if possible. Video would be good here

## Slide 38: For the non-scientist, a photo may explain more than a sample (and it is less expensive)
Notes: Sawdust from a pulp mill filled the creek
Case by the north coast against LP

## Slide 39
When photographing a glass covered dial or meter, window, mirror or other reflective object with a flash, move ~45 degrees to the side to avoid the flash in the photo.
Notes: Photo on the left is better-- can read both dials

## Slide 40: Photos: Best Practices
Setting time/date on camera
  Date stamp
Review pictures for clarity/resolution
Use GPS capabilities
NEVER delete photographs
Document “as is” before moving anything
Reformat card between uses
Keep an archival “original” copy, do not alter or change file names on it

## Slide 41: Other evidence: pieces of pipe
Notes: UST upgrade requirement, they had 10 years to upgrade (by December 1998).
Had to upgrade single-walled steel tanks (includes piping) not fiberglass ones
ARCO sponsored the legislation allowing self certification, and in 1998, the oil company sued several local regulatory agencies in California who would not issue the upgrade certification without actual on site inspections. Could self report, ARCO self reported these are fiberglass
Consider taking this and putting it in your file
In the ARCO UST case, an inspector grabbed a piece of the steel piping. In 2002
Issue later was corrosion, the rusted pipe was more persuasive than expensive defense expert
59 stations, $45 million Remember evidence is STUFF

## Slide 42: How do you prove it is the same thing you saw before?
Mark the item
Statement from someone who observed the item during the timeframe
Documents - manifests, shipping papers, invoices
Photo comparison…
All of the above
Notes: Code enforcement inoperable car over 7 days
Haz waste generator storing waste over 90 days

## Slide 43: Evidence of “Person”: Who Did It?
Who are these guys?
Individual? Corporation?
Documents
  Evidence of ownership (permits, phone bills)
Public Records (licenses, permits)
Photo
Their statements
Ask for their cell phone #
Notes: Who are you dealing with and how do you know that?
What evidence will support that we cited Joe Smith? Or Smith Platers?
Always good to check some other agencies records & permits, they may operate the same biz using other names and then deny ownership when you bring your action.
Think outside the box, consider getting records form other Gov't agency.
Not surprising to find that they go under different names to different agencies.
Check the phone book, get a photo of the outside of the biz. Get a photo of who you talked to that day
This is also important if your e helping draft or execute a search warrant. Think of what kind of evidence you want to look for.

## Slide 44: Who Did it? Why It’s Important
To make sure you are dealing with the right person/entity
Administrative or civil case can name a person or any business entity as a defendant

## Slide 45: Witness Statements
Potential witness statements
  Defendant
  Defendant’s employees
  Neighbors
  Complainants
Get Witness names, position, experience
“Paul Jones, supervisor of
X Plating for 3 years, said “We always
had Al’s Trucking pick up the plating waste.”
Notes: If you record witness statements they won’t do anybody any good unless we can find that person again.
We have to have the person’s first and last name & a way to find them weeks/months later.
We need to know who it was, why they would know this information (goes to credibility)
Cross out the last name & other details & show how it changes how useful the info is.
Get a cell phone#

## Slide 46: Witness Statements
Ask the follow up question:
“How do you know?”
Do they “know” directly or did they hear from someone else?
Can lead you to other witnesses and/or documents

## Slide 47: What to Include in Statements:
Use quotes around critical statements made by individuals
Do not use quotes unless you are certain of the wording

## Slide 48: Exception to the Hearsay Rule: Statements by Respondent/Defendant
You can testify as to any statement made by someone who is later the defendant or a respondent in a hearing or trial

## Slide 49: Exception to the Hearsay Rule: Excited Utterance
You can testify as to
  a statement
  relating to a startling event or condition,
  made while the person was under the stress of excitement that it caused.

## Slide 50: Examples of “knowledge” evidence
Prior inspection reports
Compliance assistance
Other permits and licenses
Training records

## Slide 51: Evidence of “Hazardous” or “Pollutant” or “Detrimental”
Test results (field tests, lab tests)
Documents
  SDS
  Labels
  Manifest/shipping documents
Witness statements
Circumstances where it was found
  Ex: chrome in a plating facility
PPE used
Effects
  dead fish, corroded barrel, physical injuries
Notes: Remember haz is defined by statute or regs.
Tests are imp but there are other ways to prove or bolster your tests.
I once proved felony waste by playing a video of a tank care burring for 30 minutes plus testimony of the employee that they illegally vented LPG plus testimony by a RR car expert. No samples.

## Slide 52: Evidence of When
Documents
  Rental agreement
  Delivery records
Statements (neighbors?)
Photos
  To prove/date prior condition of the site
  Check on the web or other govt agencies for photos
  Prior inspection photos
Notes: bracket the date of the violation with evidence
Check the internet and Gov't sources for photos of the site prior to Defendant's activity
Check with the neighbors, delivery people
OK that the violations started beyond the SOL as long as you can prove they continued during the period of time within the statute i.e. Dee's been doing this for 7 years.
Without this evidence, all you have is a clean up action against the current owner.
Contamination alone doe NOT give you a disposal case
Every new Haz waste inspector thinks that finding contaminated soil + haz waste disposal case
No-- all that is a clean up action
For a 25189.5 you need to know WHO and WHEN

## Slide 53: When Should You Sample
When you suspect a violation and need evidence the waste was hazardous
When the facility is denying its haz, & what they tell you doesn't make sense
To provide evidence that a waste was hazardous
  Disposal cases
A sample provides compelling evidence that a spill or discharge has occurred
Notes: When there is a question as to what the waste is, when the facility is denying its haz, when what they tell you doesn't make sense

## Slide 54: Chain of Custody
Its not just for samples
Refers to the chronological documentation, and/or paper trail, showing the seizure, custody, control, transfer, analysis, and disposition of evidence, physical or electronic
Notes: Buy it on Amazon

## Slide 55: Chain of Custody Examples
For things not easily altered (like an SDS) simply noting you collected it in your report and keeping it with your files may be sufficient
  Put date and initials on the back
Consider putting some sort of tag on items
Samples need sample tags, tape and a form

## Slide 56: Chain-of-Custody
Four ways to maintain custody
  In person’s physical possession
  In physical view of person
  Secured (seals) so that no one can tamper with it
  Secured in area restricted to authorized personnel
C-O-C documents possession from collection to final
disposition (cradle to grave)
Required for legally enforceable data

## Slide 57: Keeping Track of Evidence
Photo Logs, Sample Logs
Grids & Sketches:
Putting an ID tag on physical evidence
Keeping an evidence log or noting all evidence in your report

## Slide 58: “Elements and Evidence” To organize, evaluate and present your case
Defendant | Report p.2 |  | 
Had a Permit | Govt record |  | 
Permit Condition | Govt record |  | 
Condition Violated | Report p.4-5 | samples Photo 4-6 | inspector
Date | Report p. 2 |  | inspector
Location | inspector | Photos 2-3 | records
Notes: This violation example is “violation of a permit condition”
On the left hand side going down we have the elements, the rest of the boxes are the evidence.
This can be a tool to make sure you have evidence for each element of the violation.
Try to have more than one in each category.
Imp if you conduct a hearing, be sure you cover all the elements on the record. The burden to prove each element is on the government.
Miss a box and we lose
Note no requirement to prove knowledge or motive (but if you have that evidence its good!)

## Slide 59: How much evidence do you need?
Usually “a preponderance”:
  it’s more likely than not that the violation occurre
For a criminal case the standard it’s “beyond a reasonable doubt”
How much do you need to convince the facility owner? At a settlement conference or office hearing?
Notes: Learning point is that evidence is not just for a trial
Inspectors have to be able to prove their findings

## Slide 60: Questions?

## Slide 61: Interviewing
Next slides will provide tips on conducting interviews and taking notes.

## Slide 62: PERFORMANCE OBJECTIVE
  Introduction to Basics and Established Principles
  Identify the Five Stages of an Interview
  Recognition of Non-verbal Communications and importance of observations
  Introduction to dealing with Reluctant Individuals

## Slide 63: “CLICKER” SLIDE
Have you ever taken a structured training program on interviewing (Y/N)
What level of interviewing skill do you believe you possess
    Basic
    Intermediary
    Advanced

## Slide 64: BASICS
What is an interview ?
A “task” of gathering information?
A “face to face” discussion between two people directed toward some “specific” purpose?
A “complex process of dyadic communication” with a predetermined and serious purpose designed to interchange behavior through “asking and answering” questions?
It is just plain old HARD WORK if done properly
Interviewing is an “art” not a science
Good Interviewers have lots of practice, continually hone skills

## Slide 65: BASICS
MANY, MANY things to do before asking first question
Know your own strengths AND weaknesses
What do you already know ?
What do want to learn about ?
Is it something “Nice to Know” ?
    “New bank opened up down the street”
Is it something that is “Important” to Know ?
    “Has my salary been direct deposited to my checking or savings acct at the bank”
Is it something that is “Essential” to Know ?
    “Has Somebody been making unauthorized $ withdrawals from my acct”
PLANNING FOR THE INTERVIEW

## Slide 66: BASICS
Plan for Sufficient time without undesirable interruptions
Determine time for interviews:
    Announced v. Unannounced
    During work hours
    During breaks
    After hours
Determine place for interviews:
    At work station – Noisy v. Quiet, “cubicle farm” v. Conference Room
    Try for comfortable, quiet, and private area
    Be aware of physical barriers – Big Desk between = Psychological Security for them
Determine sequence for interviews: victim, witness, suspect
PLANNING FOR THE INTERVIEW

## Slide 67: BASICS
How many will participate ?
Try to interview only one person at a time
Don’t “Gang” up - group interviews not optimal
If more than one will be doing interview, decide upfront who leads, who records
PLANNING FOR THE INTERVIEW

## Slide 68: THE FIVE STAGES OF AN INTERVIEW
1. - INTRODUCTION
2. - RAPPORT
3. - QUESTIONING
4. - SUMMARY
5. - CLOSING

## Slide 69: THE FIVE STAGES OF AN INTERVIEW
Begin by introducing yourself and others with you -
“Good morning, my name is Jim” v. “I’m a federal agent”
Show credentials , do in way that isn’t threatening -
“Look at me here before I lost my hair” v. “This is my Badge”
Identify who you are speaking with –
“May I call you by your first name” v. “What’s your name”
Explain purpose of the interview, be clear and truthful – needs to be consistent with questions
Honesty – they will know if you’re not
Integrity – no such thing as “a little bit”; you have it or you don’t
Sizing up – they’re checking out you as much as you’re them
INTRODUCTION

## Slide 70: THE FIVE STAGES OF AN INTERVIEW
The first 30 seconds of contact are very critical – First Impression
This sets stage for remainder of interview
Main function in first few seconds is to motivate person for accurate and free participation
Project image they can identify with – must be genuine
Comment on topic of apparent interest to them
Really listen – show interest and sympathy to their problems
Encourage, don’t hurry or pressure, keep conversation easy
Don’t begin with direct tough questions, insinuate guilt (wait till later part of interview)
Re-establish rapport later if person appears to become uneasy
RAPPORT

## Slide 71: THE FIVE STAGES OF AN INTERVIEW
This should be the most challenging part of an interview
Remember, above all else, you are seeking the truth
There are a numerous ways and techniques
Bottom line – trying to get all 6 Ws:
WHO
WHAT
WHERE
WHEN
WHY
HOW
QUESTIOINING

## Slide 72: THE FIVE STAGES OF AN INTERVIEW
The Typical Four Stage Process with Interviewing People:
Ask a question
Receive an Answer
Evaluate the Response (truth/consistency)
Write Down the Response
QUESTIONING

## Slide 73: THE FIVE STAGES OF AN INTERVIEW
Before any question, remember you must LISTEN attentively
Be prepared to concentrate on their response
Questions should be:
In conversational manner
Familiar terms that person can understand
Clear and Concise
Simple and addressed to one topic
Contain soft words, not “fighting” words
Go from general to specific
QUESTIONING

## Slide 74: THE FIVE STAGES OF AN INTERVIEW
Types of questioning to use:
Open ended
“the 6 Ws” – Tell me how, Tell me why, Tell me where, etc
Tends to allow person being interviewed feel “in control”
Tends to generate more complete responses
Allows for logical progression
QUESTIONING

## Slide 75: THE FIVE STAGES OF AN INTERVIEW
Types of questioning to use:
Close ended
“Did you see it” – saves time, and is directed to exact detail
Usually results in “yes/no”, “don’t know” answer
Puts more strain on you it, must work harder with follow ups
Offering of less details, but most people find it very difficult to tell outright lie
Need to be observant, man inhibit rapport
QUESTIONING

## Slide 76: THE FIVE STAGES OF AN INTERVIEW
Types of questioning to use:
Empathy
Ask questions by building rapport to express sympathy :
“I understand your frustration, it is expensive to dispose of waste solvents the way the regulations say you have to”
Then follow up with question :
“So how did you reduce your inventory of the unusable stock ?”
QUESTIONING

## Slide 77: THE FIVE STAGES OF AN INTERVIEW
Types of questioning to use:
Opinion
Although you are trying to collect facts,
Wealth of information may be found if you ask opinions
“Not that you do, but if you were going to illegally dispose of waste solvents , how would someone do it and not get caught?”
QUESTIONING

## Slide 78: THE FIVE STAGES OF AN INTERVIEW
Types of questioning to use:
Backward Reaching
Start with known answers, then reach “backwards”
Mentally reach backward and frame question as logical continuation of facts previously related
“You said earlier that you had to make more room to store drums of the waste. How many more additional drums did you have to store ?”
QUESTIONING

## Slide 79: THE FIVE STAGES OF AN INTERVIEW
AVOID questions that are :
Leading
“You saw a truck take away those 20 drums, was it a blue truck?
Instead: “Did you see a truck come here”, wait for response, then “What did it do”, wait for response, then “what color was it”
QUESTIONING

## Slide 80: THE FIVE STAGES OF AN INTERVIEW
AVOID questions that are :
Negatively phrased
“You don’t know the name of the of the guy who took the drums away, do you?”
Instead: “Do you know who took the drums away”, wait for response, then “What was his/her name
QUESTIONING

## Slide 81: THE FIVE STAGES OF AN INTERVIEW
AVOID questions that are :
Compound
“Of all the drums present I know there were a number of drums in the inventory that weren’t labeled, so how many unlabeled drums, and what color were they, that were put on the truck ?
Instead: “How many drums were in the storage area”, wait for response, then “How many had no labeling”, wait for response, then “Which ones were put on the truck”
QUESTIONING

## Slide 82: THE FIVE STAGES OF AN INTERVIEW
AVOID questions that are :
Complex
“Based upon your prior knowledge of the circumstances leading up to the removal of the un-manifested drums and the reactions of others indicated by their story, what would have been the driver’s actions throughout period after he arrived ?
Instead: “Do you know what the driver did when he came here”, wait for response, then “How do you know that”
QUESTIONING

## Slide 83: THE FIVE STAGES OF AN INTERVIEW
The most common mistakes :
The questioner talks too much
Interrupting the person who is being interviewed
Poor/inattentive listening
Finishing their thought/response
QUESTIONING

## Slide 84: THE FIVE STAGES OF AN INTERVIEW
LISTENING IS HARD WORK
Most people don’t give it their best effort
Clear your mind of other matters
Focus on the person you are talking to
Don’t let your mind wander away in order to plan next question
Get rid of distractions, don’t give up because of your agenda
Remain Neutral – Don’t make assumptions
Don’t argue mentally – Give them a fair chance
QUESTIONING

## Slide 85: THE FIVE STAGES OF AN INTERVIEW
This phase of interview allows you to be sure you have all the information correct
Summarize information by stating details in proper sequence
Periodically ask interviewee to verify correctness of your interpretation
SUMMARY

## Slide 86: THE FIVE STAGES OF AN INTERVIEW
Seek clarification, ask if they feel you covered everything
Go over your notes – correct any discrepancies
Re-establish rapport later if person appears to become uneasy
SUMMARY

## Slide 87: THE FIVE STAGES OF AN INTERVIEW
This is a continuation of rapport phase
Courtesy ensures door is left open for future contact
Thank them for their cooperation, or Express empathy for their lack of cooperation
Be sure to communicate how they can get in touch with you if they want to share more
CLOSING

## Slide 88: NON-VERBAL COMMUNICATION
Non-Verbal Communication always takes place – both you and them
When evaluating them, don’t rely on single observation
Need to assess overall behavior
Body movement will agree or contradict verbal communication

## Slide 89: NON-VERBAL COMMUNICATION
Eye movement – excessive blinking, change in pupil size, gazing v. staring
The “Space”/proximity – be aware of physical distance
Intimate, personal, social, public zones
Touch – is there a reason to touch? Can be instrumental in calming distraught person, but can be misused and dangerous
Touch violates personal space

## Slide 90: DEALING WITH RELUCTANCE
Is this person being difficult, or is there a miscommunication?
Cultural differences could be interpreted wrongly
Biased perception before your first encounter
Interpretation issue – “M v. F”

## Slide 91: DEALING WITH RELUCTANCE
Resistance is “normal” in America – July 04, 1776
People who you think are being resistant may not be purposefully trying to be difficult
Victims fear revenge or reliving of traumatic experience
Suspects fear embarrassment at being caught or punishment
Witnesses may be resentful of previous encounter and reluctant to be involved

## Slide 92: DEALING WITH RELUCTANCE
Accept the Resistance, don’t counter “Go along with it”
Imperative to de-escalate, NEVER ESCALATE
Don’t make it worse – walk away
Attempt to deal with situation with Conciliation and Friendliness
Remain Calm, Kind, but Firm

## Slide 93: DEALING WITH RELUCTANCE
Show Acceptance
“It is clear to me that you are very angry/frustrated/nervous about this. I can imagine that if I were in your shoes I would feel the same way”
“I can see you are very concerned about this, I am too”
IT IS CRITICAL TO ESTABLISH RAPPORT WITH RELUCTANT INDIVIDUALS

## Slide 94: DEALING WITH RELUCTANCE
Need to be genuine and not phony
Must come across as decent, fair, and easy to talk to
Try to “Join into the model of their world”
Validate their concerns, address their beliefs in a positive manner
People like and trust other people WHO ARE LIKE THEMSELF

## Slide 95: “CLICKER” SLIDE
Have you picked up any new insight (Y/N)
Would an advanced interviewing block of instruction be beneficial to you (Y/N)

## Slide 96: IN SUMMARY
Remember – you, the interviewer is responsible for a successful interview or the failure
Always be professional
Always be willing to seek the truth – Don’t just be information collector/recorder

## Slide 98
Practical Exercise
Notes: Have the class count off ,1 and 2
Have 1s leave the room
Show the first photo, let the students come up and take a photo of it with their phones. If they don’t have a phone, have them take notes

## Slide 99: Process: you have three(3) minutes to: Look at the photo and write down who, what, where, how and when Your partner will ask you these questions and you need to have answers.
Notes: When the 1s return to the room
Go around the room and ask for 1 who, what , when where, how
Use the flip chart
Then have the 2s leave

## Slide 103: Continuous Emission Monitoring Systems The Basics

## Slide 104: Topics covered
History/Regulations
Types of Monitoring Systems
Purpose
Parts of a CEMS
Regulations
QA/QC
Data Recording/Reduction
Reporting
Inspection Tips

## Slide 105: Continuous Monitoring Systems (CMS)
Continuous Emission Monitoring System (CEMS)
  (examples: NOx, SO2, TRS, H2S, O2)
Continuous Opacity Monitoring System (COMS)
Continuous Parameter Monitoring System (CPMS)
Notes: I will use CEMS interchangeably for all of these, but when reading the regulations, CMS is the general term.

## Slide 106: History/Regulations
First requirements for CEMS were promulgated in 1971
EPA developed Performance Specifications and required CEMS installation in a limited number of sources in 1975.
Subpart A for NSPS and NESHAP have requirements for CMS required by regulations
  NSPS: 40 C.F.R. 60.13 Monitoring Requirements
  NESHAP: 40 C.F.R. 63.8 Monitoring Requirements
Notes: 2 main parts: the Cooling Tower and one or more Heat Exchangers.

## Slide 107: Why do we need CEMS?
CEMS are used by industry
  To satisfy regulatory requirements
  As a base of information for demonstrating compliance
  To optimize plant performance and to operate control equipment
Notes: When a facility does a performance or stack test, we know what’s coming from the stack at the time of the testing. What about after the test?

## Slide 108: What do I look at for an inspection of a CEMS?
Notes: When I started my environmental regulator career at the state level, I was told to check the calibration gas to see if it was expired or not, then record the reading on the analyzer(s). Is that all there is to a CEMS’ compliance?

## Slide 109: Typical CEMS

## Slide 110: Parts of a CEMS
A CEMS is all of the equipment required to sample, analyze, and record stack emissions in the appropriate reporting format
Sampling system
Analyzer
Data acquisition/ controller system

## Slide 111: Sampling System
  Probe – extracts gases from the stack
  Sample Line or Umbilical – transports the sample from the stack to the analyzer
  Sample Conditioning Unit – removes particulate and moisture from the stack gas prior to entering the analyzer.
  Sample Transport System – pulls the sample from the stack and sends to the analyzer using pumps, flow controllers, and other pneumatic components.
Notes: Probe is a pipe made of a material that resists corrosion: Stainless Steel or titanium. Extends from center of the stack to just outside the stack via a port.
Umbilical – a number of tubes (usually Teflon or HDPE – high density polyethylene) bundled together and protected by an outer shell. Also a heat trace line to prevent freezing in cold weather or to prevent condensation.
PM is removed w/ filters. Moisture is removed by cooling the sample below the dew point and disposing of the water.

## Slide 112: Analyzer
Notes: Various configurations: wall mount, rack mount. Measures a particular pollutant.

## Slide 113: Data Acquisition System (DAS) or Data Acquisition and Handling System (DAHS)
Controls the system and collects and records data
  Initiates daily calibrations
  Monitors system parameters
  Generates alarms/reports
  Communicates with the facility’s network
Often there is redundancy and an uninterruptible power supply (UPS) to ensure no loss of data and to demonstrate continuous monitoring.

## Slide 114: Regulations & Quality Assurance
40 C.F.R. 60.13(a) states that a CMS is subject to Performance Specifications under Appendix B and if the CMS is used to demonstrate compliance with emission limits on a continuous basis, Appendix F….
40 C.F.R. 63.8 specifies QA/QC requirements.
Power Plants are subject to the Acid Rain provisions and CEMS are subject to 40 C.F.R. 75 Appendix A.
Notes: Performance Specifications detail the CEMS eqt specs, measurement locations, test procedures.
14 different Performance Specifications in Appendix B to Part 60 (e.g. PS1 opacity; PS2 SO2 & Nox; PS3 O2 & CO2; PS4 & PS4A CO……)
Acid Rain CEMS require data substitution when the CEMS is not operational.

## Slide 115: Written QA/QC Procedures
Daily calibration and adjustment requirements
Out-of-control CEMS
Corrective action for malfunctioning CEMS
Preventative maintenance activities (including a spare parts inventory)
Periodic audits
  Relative Accuracy Test Audit(RATA) - once every 4 quarters
  Cylinder Gas Audit (CGA) or Relative Accuracy Audit (RAA) – the other 3 quarters
Notes: See workshop packet for example CEMS Written Procedures.
Note the RATA requirements for every 3 years: applied to Refinery Consent Decree NOx CEMS.

## Slide 116: Data Recording/Reduction
All CEMS but opacity: 1 cycle of operation (sample, analyze, data recording) in every 15 minute period. Calculate 1 hour averages from 4 or more data points for each 1 hour period.
Opacity CEMS: minimum of 1 cycle of sampling and analyzing for each successive 10 second period. Calculate 6 minute averages from 36 or more data points equally spaced over each 6 minute period.

## Slide 117: Data Recording/Reduction (continued)
Data from periods of CMS breakdown, repair, calibration checks, and zero/span adjustment are not to be included in the calculated data averages.

## Slide 118: Notification and Recordkeeping
40 C.F.R. 60.7(d) requires submission of a semiannual report consisting of 2 quarterly Summary Reports for each CEMS. If the excess emissions exceeded 1% of total operating time for the reporting period or total downtime for the period is ≥ 5% of total operating time, the excess emission report must also be submitted.
Notes: Different requirements for opacity CEMS vs gaseous CEMS.

## Slide 119: Inspection Tips
Ask for the Written Procedures for each CEMS.
Compare to actual practices
Ensure there is a spare parts inventory.
Get the data reports that show the 6-minute averages or 1-hour averages.
Does the average each day at 6 a.m. bump up? If so, they may be including the calibration data in the hourly average calculation.

## Slide 120: Inspection Tips (continued)
Obtain/review 3 years of Summary Reports
Frequent breakdowns?
  Meet instrument tech who maintains the CEMS at the CEMS shed. Look at his logbook and ask about the breakdowns. Cause? Note: if pumps keep breaking down, is acid gas condensing in the sample line and damaging the pump? Look at the sample line – is the insulation still there?
Does it show 0 downtime for Quality Assurance Calibration?
Are they putting the correct dates for the Latest CMS Certification or Audit field?

## Slide 121: Inspection Tips (continued)
And don’t forget to check the calibration gas expiration date!

## Slide 122: Remember this picture?
Notes: This is the before……..

## Slide 123: This is the “after” picture…the explosion proof shed protected the unit when it filled with a flammable gas
Notes: The explosion proof shed actually protected the unit when the shed filled with a flammable gas and blew up.

## Slide 124: Questions?/Comments?

## Slide 125: Smart Mobile Tools for Field Inspectors (Smart Tools) At a Glance 11/18/2019

## Slide 126
Current State
Smart Tools
Management Features
Management
Automated Assignments
Import Targets
Inspection Dashboard
Manual Inspection Assignments
Manual Inspection Tracking

## Slide 127
Assign & Schedule Targeted Inspections
Facility List Pre-populated from RCRAInfo

## Slide 128
Current State
Smart Tools
Pre-Inspection Features
Pre-populated Health & Safety Plan
Electronic Federal Regs & State Citations
Manual Health & Safety Planning
Manual Regulatory Referencing

## Slide 129
Conduct Pre-Inspection Activities:
Enter Inspection Details
Pre-populated Health & Safety Plan
Attach Electronic Documents

## Slide 130: Site Inspection Features
Stored Facility Info
Electronic Notes
Tracking
Electronic Photo Log
Offline Operation
Duplicative & Decentralized Facility Info
Time Consuming Photo Log Development
Current State
Smart Tools

## Slide 131
Conduct Site Inspection Activities:
Enter Observations
Add Buildings and Areas (at facility level)
Attach photos

## Slide 132
Quickly Create Photo Log

## Slide 133
Automatically Generate Inspection Report
Citation Linking
Electronic File Storage & Audit Trail
Laborious Report Writing
Manual Regulatory Referencing
Physical Inspection File Storage
Current State
Smart Tools
Post Inspection Features

## Slide 134
Conduct Post Inspection Activities:
Generate Inspection Report
Automated
Inspection
Report

## Slide 135
Automated Inspection Report (cont.)

## Slide 136
Automated Inspection Report (cont.)

## Slide 137: QUESTIONS?

## Slide 138: How to be an Effective Witness

## Slide 139: Testimony
In systems of proof based on the English common law tradition, almost all evidence must be sponsored by a witness, who has sworn to tell the truth.
Testimony is presented by question and answer; it is awkward and not the way we are used to communicating or learning.

## Slide 140: It’s Literal
Q: What gear were you in at the moment of the impact?
A: Gucci sweats and Reeboks.

## Slide 141: Where You May Testify
Administrative hearings (enforcement, personnel, worker’s comp)
Civil cases
  Depositions or Trial
Obtaining inspection or search warrants
Criminal trials
  Preliminary hearings/ pre trial motions
  Trial
  Sentencing

## Slide 142: Keys to Success
Patience
Listening
Preparation
Tell the truth

## Slide 143: Preparation
Know the evidence
Know the facts
Know your own documents
Know your background and experience
Know the questions that will probably be asked (on direct and cross)
Notes: Be able to explain
  your current job
  your experience and training
Have a resume and include training
Be able to describe what you do without acronyms or jargon

## Slide 144: Its Your Tone…..
Speak up
Speak s..l..o..w..l..y
Professional, prepared, objective
No sarcasm
  Does not work in person and
  Really does not work in the cold transcript

## Slide 145: When Testifying You Are Making a Record
Court Reporter or audio recording
Gestures must be explained
“Yes” or No” not “uhuh” or “yeah”
Only one person at a time

## Slide 146: The Pace of Testimony
Question….wait for the end of the question…
Pause…
Answer
People ignore mistakes lawyers make in (questions are not evidence)— judges and juries remember witness mistakes in the answers

## Slide 147: IMPORTANT Question: What do you know and how do you know it?
I saw it
I heard it
I smelled it
I did it

## Slide 148: Example
Q: Who else was there?
A: Don Smith arrived at 10am
Q: How did you know he was there?
A: I saw him arrive
Q: How did you know it was 10am?
A: I looked at my cell phone and wrote it in my report
Notes: Other questions
How did you know his name was Don Smith
Importance of notes re details

## Slide 149: Reports
Know your reports, your previous reports and reports by others regarding the same matter.
Be prepared to testify without referring to your report but for important details ask to refer to your report to refresh your recollection
Do not take you report with you onto the witness stand

## Slide 150: Don’t Try Too Hard
Just tell the facts (the whole
facts and nothing but the facts)
If you make or made a mistake,
just say so
Be professional and objective

## Slide 151: Direct Examination
  Lays out the government’s case
  First moment “an out of body experience”
  Relax; listen to questions carefully
  Tell your story; questions will be open-ended
  Use visual aids – integrate into story / refer to documents
  Educate jury / judge
Notes:   - Educate jury/judge
  - Can see it as a teaching opportunity with a class that must learn.

## Slide 152: Video
Notes: NEEP video bad witness

## Slide 153: Direct Examination
  Witness qualifications / expertise
  Description / context of work
  Opinion testimony (only if an expert)
  Basis for opinion
  Facts of the Case

## Slide 154: Direct Examination–Witness Goals
Convey depth of education / experience
Educate jury / judge
Place case (or your part of case) in proper context
Establish credibility
PERSUADE

## Slide 155: Objective of Testimony
  Personnel were qualified
  Chain-of-custody was intact
  Appropriate sampling / analytical methods were used
  Data obtained were reliable
  Expert opinions were reliable
Notes: The object is different – here we will want to “prove” our case. To tell our story.
Understand the nature of proceedings – at trial / hearings government must explain case in sufficient detail so that decision maker can make an informed decision. Present best case to obtain favorable outcome.
  Note contrast – deposition is opponent’s opportunity to learn about your case. Answers must be truthful but “educating” the opposition on matters not raised in the questions is not desirable. (May result in garbled record and may prolong discovery). At trial – want to “prove” our case – to educate the trier of fact about the basis of the case.

## Slide 156
Embed video – 2nd half of witness video
Notes: NEEP video better witness
Ask students why this version is better

## Slide 157
Gain
Concessions
Witness Lying
Bias or
Prejudice
Attack Memory
Conflicting
Statements
Not qualified to
give this opinion
Attack
Perception
Improbability
or Impossibility
Cross Examination Objectives
Notes: You will be crossed examined by the defense attorney

## Slide 158: Cross Exam: Looking for mistakes, holes and weaknesses
Witnesses not interviewed
Mishandling of evidence
Incomplete reports
Treating this defendant differently than others
Having an
“Agenda” (bias)

## Slide 159: Never Assume What the Lawyer Says is Correct
Lawyers are NOT under oath
They may misstate what another witness has said or what a report said
Notes: Play clip from High Crimes scene #17

## Slide 160
Notes: Video High Crimes lawyer lies on cross exam question scene #17
Background—it’s a court martial for murder. The defense attorney (Morgan Freeman) makes up a cause of death and the witness agrees

## Slide 161: Q: Did you include everything in your report?
How would you answer this?

## Slide 162: Q: Did you include everything in your report?
Answer #1: No.
Answer #2: Everything that was important at the time.
Answer #3: Everything I had time to write.
Answer #4: My report is a summary, it does not include everything that occurred during the inspection.

## Slide 163: Q: You never told the defendant he could not use the bag house?
What’s the problem with this question?
Notes: Double negative

## Slide 164: Q: You never told the defendant he could not use the bag house?
If you answer "No”-- does it mean
  No, I never told him or
  No, this statement is not correct, I did tell him that?
If you answer “Yes”
  (meaning yes, you never told him)
Best to explain “I never told the defendant he could not use the bag house”
Notes: Beware or yes or no answers

## Slide 165: Beware of using defense characterizations
Q: What did you do after trespassing on my client’s property?
A: I wasn’t trespassing, I was conducting my inspection. After completing my inspection, I returned to my car.

## Slide 166
Q: Was one of the purposes in issuing the Notice of Violation to help educate the company?
A: I’d have to say no.
Q: So the purpose of issuing the NOV was simply to prosecute the company, correct?
A: I would not use the word prosecute. The NOV was to inform them that they had a violation that they needed to correct by a certain date.
Notes: This is an actual transcript
Answer to the first question could have been yes (doesn't matter)

## Slide 167: Cross Exam: Looking for Concessions
Isn’t it true …
Wouldn’t it be fair to say ….
Would you agree…

## Slide 168: Be polite even when it hurts
Cross exam attacks your credibility
Don’t take it personally, its the job
Anger clouds thought and lessens your credibility

## Slide 169: Do Not Answer a Question You Do Not Understand
Look to the Judge
If there is no judge, just say you do not understand

## Slide 170: Be Careful of Documents
If asked about a document, asked to see it
Read it, read all of it, then ask for the question to be repeated
Are you sure its authentic? Current version?
Notes: You may be handed a form or policy or training item from your office

## Slide 171: Its OK to Say You Don’t Know
I don’t know (and I never knew)
I don’t recall (but maybe I used to know this)

## Slide 172: Trick Questions
“Did you talk with your attorney (i.e. the government's attorney) before testifying?
“Have you ever made a mistake?
“Isn't it possible that . . . ?”
Notes: Did you talk with your attorney – – It is perfectly proper that you spoke with the attorney before testifying. Say very frankly that you spoke with whomever you have talked with.
“Have you ever made a mistake” or “Isn’t it possible that . . .?” Both require speculation on your part. Your attorney should object. Your response: that you are not sure what he is referring to or that you can’t speculate on that point.

## Slide 173: Listen to Objections
argumentative
asked and answered
calls for speculation
calls for a conclusion
compound question or narrative
hearsay

## Slide 174: Listen to Objections
irrelevant
lack of foundation
leading question
privilege
vague
assumes facts not in evidence
question misstates prior testimony

## Slide 175: Depositions are a little different
Can be used in civil cases
Part of pre-trial discovery
Out-of-court oral testimony of a witness
Done in offices not in a courtroom

## Slide 176: Depositions
There is no judge
Usually you have to answer questions even if there was an objection
Scope is very broad, can be anything that might lead to relevant evidence

## Slide 177: Deposition: scope is very broad, whatever might lead to relevant evidence
What grade did you get in chemistry?
What facilities similar to the defendant's have you inspected?
What did you do the morning before the inspection?
Notes: They will ask question they would not ask in front of a judge or jury

## Slide 178: At the End
When you are done, leave
Don’t talk to other witnesses
about your testimony
You do not have to talk to the defense attorney or their investigator. If you do talk to them have a another witness there (like our investigator)
Notes: NOTHING is off the record. Anything you say in front of defense attorney or witnesses can and will be used against you

## Slide 179: Common Misconceptions
“This case will never go to trial, so why worry about the details.”
“I know what I’m testifying on, so I don’t need to prepare.”
“If I get into trouble, my lawyer will protect me.”
If I leave the agency I won’t have to testify
Notes: Last bullet is on the test
Nice to be so optimistic – however, better rule is “Murphy’s” –
1. Nothing is as easy as it looks.
2. Everything takes longer than you think.
Anything that can go wrong will go wrong.
  You need to be thinking about preparing from the on set of the case how to prepare – not only the case, but also yourself – in case it goes to trial.

## Slide 180: Keys to Effective Testimony
Carefully document work during investigation
From the outset - understand the case and your role
Know the limits of your expertise
Prepare for testimony
Good presentation skills
Notes: Question on the test
- I use the term “investigation” in broadest sense – it includes any inquiry where findings must be reported – it is not limited just to a civil or criminal inspections or investigations.
- Again, be mindful of investigative objectives--which later develop into the “theory of the case.”

## Slide 181: IMPORTANT: What do you know and how do you know it?
I saw it
I heard it
I smelled it
I did it

## Slide 182
Questions